AN: ISO 9001: 2015 (QMS) & ISO 14001: 2015 (EMS), RoHS

# MANUFACTURER OF:

Networking Racks, Server Racks, Outdoor Racks, Electrical Panels, Junction Box Email: info@innoracks.in	Website: www.innoracks.in

Phone No: 0129-2985686

# ACCESSORIES

# POWER DISTRIBUTION UNIT (PDU)

Horizontal Power Distribution Unit (H/PDU)

Vertical Power Distribution Unit (V/PDU)

| Model Name | Model Specifications | Description |
| --- | --- | --- |
| INN/H/PDU/001 | 6S X 5AMP: 6 sockets: 6 AMP | With Switch & Indicator |
| INN/H/PDU/002 | 6S X 15AMP: 6 sockets: 6/15AMP | With Switch & Indicator |
| INN/V/PDU/003 | 10S X 5AMP: 10 sockets: 6 AMP | With Switch & Indicator |
| INN/V/PDU/004 | 10S X 5AMP: 10 sockets: 6/15 AMP | With Switch & Indicator |
| INN/V/PDU/005 | 12S X 15AMP: 12 sockets: 6/15AMP | With Switch & Indicator |
| INN/V/PDU/006 | 10M X 15: 10 sockets: 6/15AMP | With MCB |
| INN/V/PDU/007 | 12M X 15 AMP: 12 sockets: 6/15AMP | With MCB |

# CPU TROLLY

Product Specification

| Name | Description |
| --- | --- |
| Color | Black, Ivory |
| Material | Mild Steel(powder coated) |
| Size(in MM) | 240(L)X240(W)X150(H) |
| Width | Adjustable (150MM to 225MM) |
| Loading Capacity | 20kg |
| Technology | Machine Cutting |
| Accessories | Swivel 4 Castor wheels (2 with brakes & 2 regular wheels) Rubber shock absorbers Screws & Nuts (Hardware) |
| Features | Lockable wheels (to station Trolley at one place) Adjustable design to fit all sizes of CPUs Easy to handle, transport & assemble Excellent finish & Durable |

# CANTILEVER TRAY

| Part Name | Model Name |
| --- | --- |
| INN-CNT-001 | 1U - 435MM (Front) |
|  | 1U - 250MM (Depth) |
|  | Can be used from 2 TO 50U (Customization available) for all 19” maintained equipment |

# KEYBOARD TRAY/SLIDING TRAY

| Part Name | Model Name |
| --- | --- |
| INN-KBT-001 | For up-to 1000MM Rack |

# BLANK PANEL

| Part Name | Model Name |
| --- | --- |
| INN-BLANK-001 | 1U- Blank Panel |
| INN-BLANK-002 | 2U- Blank Panel |

# CABLE MANAGER

| Part Name | Model Name | Used In |
| --- | --- | --- |
| INN-PVC-001 | PVC Cable Manager | 2U- 42U |
| INN-MET-002 | Metallic Cable Manager | 2U- 42U |

# SHELF

| Part Name | Model Name | Used In |
| --- | --- | --- |
| INN-SHELF-001 | 375MM | RACKS 600MM X 600MM |
| INN-SHELF-002 | 425MM | RACKS 600MM X 600MM |
| INN-SHELF-003 | 475MM | RACKS 600MM X 800MM |
|  |  | RACK 800MM X 800MM |
| INN-SHELF-004 | 525MM | RACKS 600MM X 800MM |
|  |  | RACKS 800MM X 800MM |
| INN-SHELF-005 | 725MM | RACKS 800MM X 1000MM |
| INN-SHELF-006 | 925MM | RACKS 600MM X 1200MM |
|  |  | RACKS 800MM X 1200MM |