AN: ISO 9001: 2015 (QMS) & ISO 14001: 2015 (EMS), RoHS

MANUFACTURER OF:

Networking Racks, Server Racks, Outdoor Racks, Electrical Panels, Junction Box Email: info@innoracks.in	Website: www.innoracks.in

Phone No: 0129-2985686

SERVER RACKS

| Height Available | Width (in MM) | Depth Available (in MM) | Description/ Specifications |  |
| --- | --- | --- | --- | --- |
| 12U 15U 17U 18U 22U 24U 27U 32U 36U 42U 45U 48U 50U (Can be customized) | 600MM 800MM | 600MM 800MM 1000MM 1200MM | Application | Network Switches/Routers/Firewall/ DVR/NVR/Audio- Visual Equipment/Low Depth Servers, Tower Servers & other 19” Electronic & Telecom Equipment |
|  |  |  | Material | CRCA |
|  |  |  | Front Door | Glass (Toughened Glass 4mm) /Metal Door with Key Lock |
|  |  |  | Mounting Channels | 2-4 Pair Heavy Duty (2.0mm) |
|  |  |  | Cooling Option | 4 fan Provision mounted on Top Panel |
|  |  |  | Load Bearing Capacity | Up to 600-1000 KG |
|  |  |  | Construction | Front Glass & full Perforated Door option, Rear Steel Perforated Door, |
|  |  |  | Side Panels | Detachable side panels with perforation |

Standard Accessories:

- Cantilever tray/ Keyboard Tray/ Sliding Tray

- Fix Shelf/ Shelf Tray (Additional Equipment Shelf)

- Cooling Fan

- Power Distribution Unit (PDU)

- Equipment Mounting Hardware

- Cable Managers

- Earthing Kit

- Castor wheel set of 4

| Features | Simplification |
| --- | --- |
| Robustness | Having modularity & flexibility enable Innoracks cabinets to meet challenging environments, climates and harsh conditions found in outdoor or factory settings |
| Expedient Installation & Sustenance | Innoracks’ racks & enclosures optimized for easy installation with managing cables and integrating power distribution unit. |
| Top-notch Ventilation | Innoracks networking cabinets have integral ventilation cut-outs in the doors and side covers promoting air circulation throughout. |
| Convenient Locking mechanism | Innoracks offers complete range of locking system for rack security, which can be customized, customer can select the locking system based on the management & site requirement. |
| Favorable Dismantling | Innoracks have removable front and rear doors and removable side panels so it can be disassemble and transport easily. |
| Commodious Cable Entry | Cable entries are located at the top and bottom of the cabinet with professional plastic stringing holes for cable winding, equipment adjustment and maintenance. |
| Easy to Set-up | Racks & enclosure are optimized for easy installation with managing cables and integrating power distribution unit. |

Other Features:

- Same model covering all U requirements.

- Capacity to load heavy equipment easily

- Allows maximum airflow inside the racks

- Facilitates comfortable & smooth server installation without any tool or support

- Helps IT engineers to install equipment without mismatch

- Enables external electrical grounding

- Accommodates small depth IT equipment

- Removes hot air inside racks and helps maintain the temperature

- Good expandability & upgradability

- Adjustable mounting depth

- Sturdy Construction, Excellent Finish

- Optimum Performance

- Beautiful Appearance

Figure 1- Server Rack