AN: ISO 9001: 2015 (QMS) & ISO 14001: 2015 (EMS), RoHS

MANUFACTURER OF:

Networking Racks, Server Racks, Outdoor Racks, Electrical Panels, Junction Box

Email: info@innoracks.in	Website: www.innoracks.in

Phone No: 0129-2985686

WALL-MOUNT/POLE-MOUNT RACKS

| Height Available | Width(in MM) | Depth Available (in MM) | Description/ Specifications |  |
| --- | --- | --- | --- | --- |
| 2U 3U 4U 6U 9U 12U 15U | 550MM & Internal- 19INCHES | 350 400 500 600 650 | Application | Network Switches/Routers/Firewall/ DVR/NVR/Audio- Visual Equipment/Low Depth Servers & other 19” Electronic |
|  |  |  | Material | CRCA Steel Single Wall |
|  |  |  | Front Door | Glass (Toughened Glass 4mm) /Metal Door with Key Lock |
|  |  |  | Mounting Channels | 2 Pair Heavy Duty (1.2mm) |
|  |  |  | Cooling Option | 1-2 fan Provision mounted on Top Panel |
|  |  |  | Load Bearing Capacity | Up to 30 -40 KG |
|  |  |  | Construction | Dismantle/Welded Construction Overall 0.8mm Thickness, Load Bearing angles are 0.8 MM |
|  |  |  | Side Panels | Integrated side panels with perforation |

NETWORK RACKS

| Height Available | Width (in MM) | Depth Available (in MM) | Description/ Specifications |  |
| --- | --- | --- | --- | --- |
| 18U 24U 27U 32U 36U 42U (Can be customized) | 600MM 800MM | 800MM 1000MM | Application | Network Switches/Routers/Firewall/ DVR/NVR/Audio- Visual Equipment/Low Depth Servers & other 19” Electronic |
|  |  |  | Material | CRCA |
|  |  |  | Front Door | Glass (Toughened Glass 4mm) /Metal Door with Key Lock |
|  |  |  | Mounting Channels | 2-4 Pair Heavy Duty (2.0mm) |
|  |  |  | Cooling Option | 4 fan Provision mounted on Top Panel |
|  |  |  | Load Bearing Capacity | Up to 600-1000 KG |
|  |  |  | Construction | Front Glass & full Perforated Door option, Rear Steel Perforated Door, |
|  |  |  | Side Panels | Detachable side panels with perforation |

Standard Accessories:

- Cantilever tray/ Keyboard Tray/ Sliding Tray

- Fix Shelf/ Shelf Tray (Additional Equipment Shelf)

- Cooling Fan

- Power Distribution Unit (PDU)

- Equipment Mounting Hardware

- Cable Managers

- Castor Wheels

- Blank Panels

| Features | Simplifications |
| --- | --- |
| Robustness | Modularity & flexibility of Innoracks cabinets enable to meet challenging rugged environments and harsh conditions found in outdoor or factory set-up. |
| Discernibility | Tempered glass on front door provides good visibility for observation of operating equipment. |
| Affirmative Dismantling | Easily removable front door for access |
| Commodious Cable Entry | Cable entry access options from top of cabinet |

Other Features:

- Same model covering all U requirements.

- Capacity to load heavy equipment easily

- Allows maximum airflow inside the racks

- Facilitates comfortable & smooth server installation without any tool or support

- Helps IT engineers to install equipment without mismatch

- Enables external electrical grounding

- Accommodates small depth IT equipment

- Removes hot air inside racks and helps maintain the temperature

- Good expandability & upgradability

- Adjustable mounting depth

- Sturdy Construction, Excellent Finish

- Optimum Performance

- Beautiful Appearance